FWM (Flexible Wall Membrane)

Product Specification Document

DATE: 25.07. 2019	REF: PL-CW-PSDFWM01

Detailed Description

FWM (Flexible Wall Membrane) has been developed for use onto walls, to provide waterproofing beneath ceramic, natural stone and porcelain tiles in bath/ shower rooms and other wet areas.

Pale blue, solvent free waterproof coating, suitable for use with Tilesure waterproofing and Decoupling Membrane or Screedsure waterproofing membrane. Junctions/ corners must be first reinforced with Reinforcing Tape as necessary.

System Components

FWM 8kg Tub

FWM Reinforcing Tape

FWM Primer

Features and Benefits

- Lifetime Guarantee

- Solvent free

- Quick and easy to apply

- Compatible with Tilesure and Screedsure

- Suitable for use on all commonly encountered substrates

Preparation

- All surfaces are to be clean, dry, free from dust, grease and oil, etc. Surfaces must be smooth, sound and flat, with all indentations filled with a suitable filler and all protrusions struck off

- Junctions/corners must be first reinforced with Reinforcing Tape as necessary

Application

- Single coat, brush or roller applied

- Coverage per coat (minimum 1 kg/m²)

- FWM-8: 8kg tub

- FWM should be applied to the walls of the shower area and overlapped onto the Tilesure Reinforcing Tape

# Product specification

Product reference		Code		Size/Weight

FWM		FWM-08		8kg

FWM Reinforcing Tape		FWM-TAPE	10m

FWM Primer		FWM-PR5	500ml

Manufacturer

Name:		CCL Wetrooms

Contact Info:		Address:	Lodge Farm

Hook Road

North Warnborough

Hook

RG29 1HA

Tel:	+44 (0)844 3276002		Fax:	+44 (0)1256 765100

Web:	www.ccl-wetrooms.co.uk	Email:	info@ccl-wetrooms.co.uk